## Master_Index
Country | Code | Region | Status | Last updated | Sheet
Germany | DE | Europe | deep-dive | 2026-06-11 | Country_Germany
Sweden | SE | Europe | deep-dive | 2026-06-11 | Country_Sweden
China | CN | Asia | deep-dive | 2026-06-11 | Country_China
Albania |  | Europe | needs-research | 2026-06-11
Austria |  | Europe | needs-research | 2026-06-11
Belgium |  | Europe | needs-research | 2026-06-11
Bosnia and Herzegovina |  | Europe | needs-research | 2026-06-11
Bulgaria |  | Europe | needs-research | 2026-06-11
Croatia |  | Europe | needs-research | 2026-06-11
Cyprus |  | Europe | needs-research | 2026-06-11
Czechia |  | Europe | needs-research | 2026-06-11
Denmark |  | Europe | needs-research | 2026-06-11
Estonia |  | Europe | needs-research | 2026-06-11
Finland |  | Europe | needs-research | 2026-06-11
France |  | Europe | needs-research | 2026-06-11
Greece |  | Europe | needs-research | 2026-06-11
Hungary |  | Europe | needs-research | 2026-06-11
Iceland |  | Europe | needs-research | 2026-06-11
Ireland |  | Europe | needs-research | 2026-06-11
Italy |  | Europe | needs-research | 2026-06-11
Kosovo |  | Europe | needs-research | 2026-06-11
Latvia |  | Europe | needs-research | 2026-06-11
Lithuania |  | Europe | needs-research | 2026-06-11
Luxembourg |  | Europe | needs-research | 2026-06-11
Malta |  | Europe | needs-research | 2026-06-11
Moldova |  | Europe | needs-research | 2026-06-11
Montenegro |  | Europe | needs-research | 2026-06-11
Netherlands |  | Europe | needs-research | 2026-06-11
North Macedonia |  | Europe | needs-research | 2026-06-11
Norway |  | Europe | needs-research | 2026-06-11
Poland |  | Europe | needs-research | 2026-06-11
Portugal |  | Europe | needs-research | 2026-06-11
Romania |  | Europe | needs-research | 2026-06-11
Serbia |  | Europe | needs-research | 2026-06-11
Slovakia |  | Europe | needs-research | 2026-06-11
Slovenia |  | Europe | needs-research | 2026-06-11
Spain |  | Europe | needs-research | 2026-06-11
Switzerland |  | Europe | needs-research | 2026-06-11
Ukraine |  | Europe | needs-research | 2026-06-11
United Kingdom |  | Europe | needs-research | 2026-06-11

## Inputs
Parameter | Value | Unit | Name
Annual energy | 2000000 | kWh | Depot_E
Peak / contracted power | 1000 | kW | Depot_Pmax
Billing months | 12 | months | Depot_Months
Utilisation hours |  | h/yr | Depot_Hours

## Outputs
Country | Regulated/illustrative annual cost | Currency | Notes
Germany | Stromsteuer+§19+Offshore+KWKG+Konz (regulated part) | EUR | Energy & grid (DSO) market-specific; see sheet
Sweden |  | SEK | Effektavgift + energiskatt; energy zone-dependent
China |  | CNY | Capacity charge only; +ToU energy ~1.27M, total ~1.65M (Jiangsu)

## Country_Germany
Germany — truck-depot electricity tariff
A · Classification & assumptions
Medium voltage (10-20 kV), RLM-metered industrial Sondervertragskunde. Utilisation t_B = E/P_max = 2000 h -> <2500 h Netzentgelt regime.
B · Tariff components
Component | Category | Legal basis | Calculation | Region variation
Energiepreis / Beschaffung | energy | Free contract (EPEX/EEX) | E x p_energy (market) | Supplier-specific
Netzentgelt Leistungspreis | grid-power | §17 StromNEV; DSO Preisblatt | P_max x LP(<2500h) | Each DSO
Netzentgelt Arbeitspreis | grid-energy | §17 StromNEV; DSO Preisblatt | E x AP(<2500h) | Each DSO
Stromsteuer | tax | StromStG §9b | E x 0.0205 EUR/kWh (=41,000) | Federal
Konzessionsabgabe | concession | §48 EnWG; KAV §2 | E x 0.0011 (cap; Grenzpreis test) | Municipality
KWKG-Umlage | surcharge | KWKG; EnFG | E1 x 0.00446 + E2 x B' | National
§19 StromNEV-Umlage | surcharge | §19 StromNEV; EnFG | E1 x 0.01559 + E2 x 0.00050 (=16,090) | National
Offshore-Netzumlage | surcharge | §17f EnWG; EnFG | E1 x 0.00941 + E2 x B' | National
AbLaV-Umlage | surcharge | §18 AbLaV | 0 (not levied since 2023) | National
EEG-Umlage | surcharge | EEG/EnFG | 0 (abolished 2022) | N/A
Messstellenbetrieb | metering | MsbG §32 | MsbG-capped EUR/yr (not modelled) | Msb-specific
Mehrwertsteuer (VAT) | tax | UStG | 19% on net (recoverable) | Federal
C · Symbolic formulas
Energy | C_energy = E * p_energy
Grid | C_grid = P_max*LP + E*AP (regime <2500h)
Electricity tax | C_stromst = E*0.0205 = 41000
Concession | C_konz = E*0.0011 = 2200
KWKG | C_KWKG = E1*0.00446 + E2*Bprime
§19 StromNEV | C_19 = E1*0.01559 + E2*0.00050 = 16090
Offshore | C_offshore = E1*0.00941 + E2*Bprime
TOTAL (net) | C_net = sum(above) + C_metering ; C_gross = C_net*1.19
D · V2G / feed-in / export
§118 Abs.6 EnWG: storage/bidirectional (V2G) charging exempt from double grid fees; via §21 EnFG treated as storage (0.000 ct/kWh surcharge). BNetzA MiSpeL from 2026-04, no 2nd meter.
F · References — see the web app country page for full citation list

## Country_Sweden
Sweden — truck-depot electricity tariff
A · Classification & assumptions
Hogspanning power-subscription (Vattenfall N4) for ~1 MW. Energy is competitive Nord Pool spot in the depot's SE1-SE4 zone. Grid = fixed + effektavgift + seasonal overforing.
B · Tariff components
Component | Category | Legal basis | Calculation | Region variation
Spotpris / elhandelspris | energy | Nord Pool day-ahead (SE1-SE4) | E x p_spot (zone-dependent) | Supplier & zone
Pa slag (markup) | energy | Contract | small ore/kWh adder | Supplier
Fast avgift | fixed | Ellagen; Ei | 12 x 560 = 6,720 SEK | DSO
Effektavgift | grid-power | Ellagen; Ei | 12 x 54 x P_max = 648,000 SEK | DSO
Hoglasteffektavgift | grid-power | Ellagen; Ei | 12 x 0 x P_max (Vattenfall N4) | DSO
Overforingsavgift | grid-energy | Ellagen; Ei | E_hog x 0.612 + E_lag x 0.244 SEK | DSO/zone
Energiskatt | tax | Lag 1994:1776 | E x 0.360 = 720,000 SEK | National (north reduction)
Industri 0.6 ore (N/A) | tax | Lag 1994:1776 | Depot does NOT qualify (logistics) | National
Moms (VAT) | tax | Mervardesskattelagen | 25% (recoverable) | National
Elcertifikat | surcharge | Lag 2003:113 | small, phasing out (~0) | Supplier
C · Symbolic formulas
Energy | C_energy = E * p_spot (zone-dependent)
Grid fixed | C_fast = 12*560 = 6720
Grid power | C_effekt = 12*54*P_max = 648000
Grid energy | C_overf = E_hog*0.612 + E_lag*0.244
Energy tax | C_skatt = E*0.360 = 720000
TOTAL | Subtotal_excl_VAT = sum(above); Total = 1.25*Subtotal (VAT recoverable)
D · V2G / feed-in / export
Export => producer/inmatning customer (natnytta ~5.9 ore/kWh + energy sold at ~spot). 60-ore micro-production tax credit does NOT apply (needs <=100 A AND abolished 2026-01-01). No dedicated V2G tariff regime; not modelled.
F · References — see the web app country page for full citation list

## Country_China
China — truck-depot electricity tariff
A · Classification & assumptions
10 kV, 工商业 C&I, two-part (>=315 kVA mandatory). Energy market-determined (agent-purchase 0.3715 yuan/kWh Apr-2026, Jiangsu). Demand: capacity (kVA) or max-demand (kW) basis.
B · Tariff components
Component | Category | Legal basis | Calculation | Region variation
Agent-purchase energy | energy | NDRC 1439 (2021) | 0.3715 yuan/kWh (monthly, Jiangsu) | Province/month
Line-loss charge | grid-energy | NDRC 526 | 0.0123 yuan/kWh | Province
T&D energy price | grid-energy | NDRC 526 (2023) | 0.1357 yuan/kWh @10kV | Province
Capacity charge | grid-power | NDRC 526; two-part | S_kVA x 32 x 12 = 384,000 yuan | Province
Max-demand charge | grid-power | NDRC 526; two-part | P_max x 51.2 x 12 (x0.9 if >=260 kWh/kVA) | Province
System operation cost | surcharge | Market rules | 0.0688 yuan/kWh | Province
Govt funds & surcharges | levy | National funds | 0.0294 yuan/kWh (incl. renewable 0.019) | Province
ToU peak/flat/valley | energy | Su DRC 426/2025 | peak +80%/valley -65%; 0.9149/0.6177/0.3762 | Province
Critical-peak/deep-valley | energy | Su DRC; >=315 kVA | +20% / -20% | Few provinces
VAT (13%) | tax | National | included in published yuan/kWh | National
Power-factor adjustment | surcharge | Lilv method | +/- vs PF 0.9 (per account) | Standard varies
C · Symbolic formulas
Energy (ToU) | E_peak*0.9149 + E_flat*0.6177 + E_valley*0.3762
Demand (capacity) | S_kVA*32*12 = 384000
Demand (max-demand) | P_max*51.2*12 (x0.9 if kWh/kVA>=260)
Power factor | PF_cost = +/- beta*(Energy+Demand)
TOTAL | Total = Energy + Demand + PF (VAT included). Illustrative ~1.65M yuan/yr
D · V2G / feed-in / export
V2G (车网互动) pilot-stage: 718/2024 + 241/2025 (9 cities, 30 projects). No national feed-in tariff; compensation via local pilots/aggregators/market. Not modelled.
F · References — see the web app country page for full citation list